## Instrucciones
Module Auxiliary Services

## AUX
Company | Asset_Type | Serial | ID | Location | Opt_Year | Brand | Model | Type | Replacement | Load | UC
WAKANDA_TSO | AUX | 1 | Aux_0 | BOG_1 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Se cambio BLG 1002A por LTB 245E1, preguntar si es valido.
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Transformer OHL Switch Transfer
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Si tiene respuesto

## Electric
Test_ID | Pos | Serial | Location | Date | Voltage | Discharge | Impedance | Charge | Charge_Cond
1 | Aux_0 | 1 | BOG_1 | 2015-04-22 | 0 | 1 | 1 | 0 | La corriente y la tensión en condiciones de carga flotante parecen normales considerando los datos históricos y las especificaciones
2 | Aux_0 | 1 | BOG_1 | 2016-04-23 | 1 | 0.9 | 1 | 1 | Valores anormales posibles - necesidad de confirmar con ensayo
3 | Aux_0 | 1 | BOG_1 | 2018-04-24 | 1 | 0.9 | 1 | 1 | Valores anormales posibles - necesidad de confirmar con ensayo
4 | Aux_0 | 1 | BOG_1 | 2019-04-25 | 2 | 0.85 | 2 | 3 | Indicaciones definitivas de un comportamiento anormal
5 | Aux_0 | 1 | BOG_1 | 2019-10-26 | 2 | 0.85 | 4 | 4 | Valores anormales que no pueden devolverse dentro de un rango normal aceptable.

## Physic
Test_ID | Pos | Serial | Location | Date | Gravity | Electrolyte | Clean | Sediment_free | Plates_Free_Of_Corrosion_Sulphates | No_evidence_of_over_heating_abnormality | Normal_Signs_of_Wear | Can_brought_into_acce_cond
1 | Aux_0 | 1 | BOG_1 | 2015-04-22 | 1 | 2 | No | Yes | Yes | Yes | Yes | Yes
2 | Aux_0 | 1 | BOG_1 | 2020-04-22 | 2 | 3 | No | Yes | No | No | Yes | Yes

## Visual_Room
Test_ID | Pos | Serial | Location | Date | Room | Clean | Corrosion_free | No_evidence_of_abnormality | Room_ventilation | Normal_Signs_of_Wear | Can_brought_into_acce_cond
1 | Aux_0 | 1 | BOG_1 | 2015-04-22 | 1 | Yes | Yes | Yes | Yes | Yes | No
2 | Aux_0 | 1 | BOG_1 | 2018-04-22 | 2 | Yes | No | Yes | Yes | Yes | No

## Visual_Containers
Test_ID | Pos | Serial | Location | Date | Containers | Clean | Corrosion_free | No_evidence_of_abnormality | Room_ventilation | Normal_Signs_of_Wear | Can_brought_into_acce_cond
1 | Aux_0 | 1 | BOG_1 | 2015-04-22 | 1 | Yes | Yes | Yes | Yes | Yes | No
1 | Aux_0 | 1 | BOG_1 | 2019-04-22 | 3 | No | No | No | Yes | Yes | Yes

## Visual_Overall_Cond
Test_ID | Pos | Serial | Location | Date | Overall_Cond | Clean | Corrosion_free | No_evidence_of_abnormality | Room_ventilation | Normal_Signs_of_Wear | Can_brought_into_acce_cond
1 | Aux_0 | 1 | BOG_1 | 2015-04-22 | 1 | Yes | Yes | Yes | Yes | Yes | No
1 | Aux_0 | 1 | BOG_1 | 2020-04-22 | 1 | Yes | Yes | Yes | Yes | Yes | No

## Assessment_Tables
Tasa de carga - flotante
Estado | Ponderación
La corriente y la tensión en condiciones de carga flotante parecen normales considerando los datos históricos y las especificaciones | 0
Valores anormales posibles - necesidad de confirmar con ensayo | 1
Valores anormales probables | 2
Indicaciones definitivas de un comportamiento anormal | 3
Valores anormales que no pueden devolverse dentro de un rango normal aceptable. | 4

## _56F9DC9755BA473782653E2940F9 (hidden)
2MF_VyIJjkWHv-xPRV62AFp6FmJGvDJDlaNXvDlwm8NUQVQ5TFVKRllOUTRMWlBJS0syOUhLSFNOVi4u
Form1
{dcbd5c6e-e310-4cb1-a15e-380c47f2a6be}