## Instrucciones
Welcome to PywerAPM | Module Circuit Breaker

## CB_SF6
Company | Asset_Type | ID | Serial | Location | Opt_Year | U_Nom | Brand | Model | Type | Replacement | Load | UC
WAKANDA_TSO | CB_SF6 | CB_0_1 | 2 | BOG_3 | 2006 | 230 | ABB | LTB 245E1 | Transformer | False | None | N5S2
WAKANDA_TSO | CB_SF6 | CB_0_12 | 3 | BOG_4 | 2006 | 500 | AREVA | GL317 | Transformer | False | None | N5S2
Note on I2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Se cambio BLG 1002A por LTB 245E1, preguntar si es valido.
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Transformer OHL Switch Transfer
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Si tiene respuesto

## Resistance
Test_ID | Pos | Serial | Location | Date | R_Contact | R_Dynamic
1 | CB_0_1 | 2 | BOG | 2015-04-22 | 0 | 1
2 | CB_0_1 | 2 | BOG | 2015-06-17 | 1 | 2
4 | CB_0_1 | 2 | BOG | 2015-12-12 | 2 | 1
5 | CB_0_1 | 2 | BOG | 2017-07-13 | 1 | 1
6 | CB_0_1 | 2 | BOG | 2018-06-21 | 2 | 2
7 | CB_0_1 | 2 | BOG | 2019-03-18 | 2 | 2
8 | CB_0_12 | 3 | BOG | 2012-02-17 | 2 | 2
9 | CB_0_12 | 3 | BOG | 2013-09-06 | 2 | 2
10 | CB_0_12 | 3 | BOG | 2014-05-26 | 3 | 2
11 | CB_0_12 | 3 | BOG | 2015-06-18 | 2 | 2
12 | CB_0_12 | 3 | BOG | 2017-07-17 | 3 | 2
13 | CB_0_12 | 3 | BOG | 2019-01-11 | 4 | 2

## GAS
Test_ID | Pos | Serial | Location | Date | SF6_Leaks | Gas_Condition | Purity | Presure | Opt | Humidity | Acidity
1 | CB_0_1 | 2 | BOG | 2015-04-22 | 0 | 0
2 | CB_0_1 | 2 | BOG | 2017-07-13 | 0 | 0
3 | CB_0_1 | 2 | BOG | 2018-06-21 | 0.1 | 0
4 | CB_0_1 | 2 | BOG | 2019-03-18 | 0.1 | 1
5 | CB_0_12 | 3 | BOG | 2012-02-17 | 0 | 2
6 | CB_0_12 | 3 | BOG | 2013-09-06 | 0.5 | 2
7 | CB_0_12 | 3 | BOG | 2014-05-26 | 1 | 2
8 | CB_0_12 | 3 | BOG | 2017-07-17 | 1.5 | 3
9 | CB_0_12 | 3 | BOG | 2019-01-11 | 2.1 | 3

## Mechanism
Test_ID | Pos | Serial | Location | Date | Recharge_Time | Tank | Bushings
1 | CB_0_1 | 2 | BOG | 2015-04-22 | 1 | 0 | 1
2 | CB_0_1 | 2 | BOG | 2017-07-13 | 1 | 2 | 2
3 | CB_0_1 | 2 | BOG | 2019-03-18 | 1 | 2 | 2
4 | CB_04 | 14 | BOG | 2013-09-06 | 0 | 1 | 1
5 | CB_04 | 14 | BOG | 2017-07-17 | 0 | 1 | 1
6 | CB_04 | 14 | BOG | 2019-01-11 | 0 | 2 | 1

## _56F9DC9755BA473782653E2940F9 (hidden)
2MF_VyIJjkWHv-xPRV62AFp6FmJGvDJDlaNXvDlwm8NUQVQ5TFVKRllOUTRMWlBJS0syOUhLSFNOVi4u
Form1
{dcbd5c6e-e310-4cb1-a15e-380c47f2a6be}